Making Nigrosin/Eosin Stain

(To be used with sperm viability Assays)

Prepare 24 hours before use:

Buffer:

- Weigh out the following in a 1-L flask:

17.35 g sodium glutamate

1.28 g potassium citrate

8.51 g sodium acetate

0.68 g magnesium chloride

- Dilute to 1 L with dH2O

- Mix intermittently until all components are dissolved

- Using a pH meter, measure pH to adjust to pH 7.0

- Keep buffer in tightly capped or stoppered bottle in the fridge. Discard if any particulate matter is observed

N/E Stain:

- In bottle or flask add 5 g nigrosin and 1 g eosin

- Add 100 mL of buffer (above)

- Mix thoroughly and let the stain stand at least 24 h before use. Keep stain in tightly capped or stoppered bottle in the fridge. Stain is good indefinitely. Discard if any bacteria or particulates are observed when viewing in the microscope.

- Filter before use.

**IMPORTANT: Make sure slides are not exposed to humidity or moisture during the drying phase! This will kill all the sperm cells.