Cortisol Quantification in Hair

Extraction (days 1-3)

- Put whole hair (about 7.5mg or more) in a small glass tube containing 2.5ml isopropanol.

- Mix on plate shaker for 3 min.

- Aliquot 2ml into a small glass tube, then repeat step 1.

- Aliquot another 2ml into the same glass tube and allow the total 4ml to dry down. This is the cortisol in the sweat/sebum that washed off of the hair. This can be analyzed as a separate measure of cortisol in the animal, but can also be discarded at this stage.

- Remove the hair from the tube using a glass rod and place on a piece of absorbent paper lining a small weigh boat. Allow the hair to dry for at least 12h.

- Mince the hair using a razor blade on a stone cutting surface into approximately 1mm pieces (or smaller if possible!).

- Weight out at least 5mg of the hair bits and add to a small glass tube containing 1ml methanol.

- Leave in the methanol at room temperature for at least 16h. Try to be consistent in the amount of time you leave the hair in the methanol.

- Centrifuge the tubes at 3,000rpm for 10 minutes.

- Pipet 700ul of the supernatant into a new glass tube, taking care not to suck up the hair bits. Discard the tube containing the hair bits.

- Dry down the methanol either overnight or under a N2 stream.

Assay (Enzo Cortisol Kit ADI-900-071)

- Resuspend samples in 200ul of Assay Buffer.

- Vortex all samples for 30 sec each.

- Make standards:

- Label tubes 1-7

- Add 1000ul of Assay buffer to tube #1

- Add 500ul of Assay buffer to tubes 2-7.

- Remove 100ul of buffer from tube #1.

- Add 100ul of the 100,000pg/ml standard to tube #1. Vortex!

- Take 500ul of the mix in tube #1 and add it to tube 2. Vortex!

- Take 500ul of the mix in tube #2 and add it to tube 3. Vortex!

- Continue this all the way to tube #7.

Final concentrations for standards are:

1. 10,000pg/ml, 2. 5000pg/ml, 3. 2500pg/ml, 4. 1250pg/ml, 5. 625pg/ml, 6. 313pg/ml, 7. 156pg/ml.

- Use ELISA template to map out what wells will be used for what.

- Add 100ul assay buffer to NSB and B0 wells.

- Add 100ul of standards into the appropriate wells (they should be in duplicate!)

- Add 100ul of sample into the appropriate wells (they should be in duplicate!)

- Add 50ul assay buffer to NSB wells.

- Using reservoir and multichannel pipet, add 50ul of blue conjugate to all wells except for the TA and blank wells!

- Using reservoir and multichannel pipet, add 50ul of yellow antibody to all wells except for Blank, TA, and NSB wells.

(all wells should be green, except for NSB which is blue, and TA and Blank are clear).

- Put adhesive film over plate and incubate on plate shaker at room temperature (600rpm) for 2h.

- Make wash buffer by adding 5ml wash buffer concentrate to 95ml DI water.

- Use the plate washer to empty and wash the wells 3 times with wash buffer. (can use the KN program for this).

- Add 5ul of blue conjugate to the TA wells.

- Using reservoir and multichannel pipet, add 200ul Pnpp substrate to all wells.

- Incubate 1h at room temperature without shaking. After this, you should be able to see some yellow color changes in some of the wells.

- Using reservoir and multichannel pipet, add 50ul of stop solution to all wells.

- Read immediately at 405nm on the plate reader.

Data Analysis

- Input absorbance data into the ELISA app:

https://elisaanalysis.com/app

- Convert concentrations from the app (pg/ml) into concentrations in hair (pg/mg) using Excel spreadsheet.

EXTRACTION WORKSHEET

| Assay sample # | Sample ID | Initial hair weight | Final hair weight |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |
| 16 |  |  |  |
| 17 |  |  |  |
| 18 |  |  |  |
| 19 |  |  |  |
| 20 |  |  |  |
| 21 |  |  |  |
| 22 |  |  |  |
| 23 |  |  |  |
| 24 |  |  |  |
| 25 |  |  |  |
| 26 |  |  |  |
| 27 |  |  |  |
| 28 |  |  |  |
| 29 |  |  |  |
| 30 |  |  |  |
| 31 |  |  |  |
| 32 |  |  |  |
| 33 |  |  |  |
| 34 |  |  |  |
| 35 |  |  |  |
| 36 |  |  |  |
| 37 |  |  |  |

ELISA SETUP TEMPLATE

Assay Date: ________________________

|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | BL | Std1 | Std5 |  |  |  |  |  |  |  |  |  |
| B | BL | Std1 | Std5 |  |  |  |  |  |  |  |  |  |
| C | TA | Std2 | Std6 |  |  |  |  |  |  |  |  |  |
| D | TA | Std2 | Std6 |  |  |  |  |  |  |  |  |  |
| E | NSB | Std3 | Std7 |  |  |  |  |  |  |  |  |  |
| F | NSB | Std3 | Std7 |  |  |  |  |  |  |  |  |  |
| G | B0 | Std4 |  |  |  |  |  |  |  |  |  |  |
| H | B0 | Std4 |  |  |  |  |  |  |  |  |  |  |