Plasma Steroid Hormone Extraction Protocol

Materials Needed:

Diethyl Ether							Fisher E138-500

Hormone standard (we use leftovers from kits, but you can make your own too)

Medium glass culture tubes (13X100mm)			VWR 47729-572

Large glass culture tubes (16X125mm)			VWR 47729-578

Protocol:

- Thaw all samples and then pool 50ul from each of 10 samples to create the pooled sample.

- Add a known amount of hormone to a portion of the pooled sample. This will later be used to calculate recoveries for the extraction set.

- Put 50-100ul of plasma into each numbered large culture tube. We have used as little as 15ul for small passerine birds, but we use 50ul for chicken corticosterone and testosterone.

- Add 3ml diethyl ether to each tube and vortex all tubes for at least 30 sec.

- Let sit in a fume hood for 20min. After this step, centrifuging at low speed can improve extraction, but is not always necessary.

- Place rack of tubes in a -80 freezer for 3-4min to freeze the bottom layer. If there is a lot of “snow” wait a few minutes to pour off.

- Pour the ether fraction into new medium glass culture tubes and discard the frozen pellet.

- Dry down the ether fraction either overnight or under an N2 stream.