Sperm Mobility Assay

- Pre-fill micro-cuvettes with 600ul 6% Nycodenz (each bird will need one)

- Pre-warm small test tubes, semen collecting tubes, diluent, mobility buffer, and pre-filled micro-cuvettes with 6% Nycodenz  in a water bath at 41°C

- Pre-fill 16 standard cuvets with 2 ml 3% NaCl

- Collect semen and blood from individual roosters. Keep blood on ice for RIA only.

- Zero cuvet containing NaCl at 550 nm in spectrophotometer.

- Pipette 10µl semen into cuvet containing NaCl and mix by inversion

- Place cuvet into spectrophotometer and record absorbance.

- Calculate concentration of semen sample by using the equation:

  - Concentration = (Initial absorbance – 0.0558) / 0.1212 (billion sperm/ml)

- Pipette 50µl neat semen into pre-warmed test tube (41°C).

***Hand off semen for stain (jump to stain instructions). From remainder of semen, keep for RIA and put into separate labeled 1.5 ml microcentrifuge tubes. Set aside.

- Calculate volume of mobility buffer to add to 50µl neat semen for a concentration of 6 x 106 sperm/ml:

  - [(Concentration x 0.05)/0.5]-0.5 = Volume buffer (ml)

- Add proper volume of buffer to test tube containing semen and vortex by hand.

- Overlay 60µl of the semen/buffer solution on top of the pre-warmed Nycodenz.

- Incubate the cuvet at 41°C for 5 minutes in a water bath.

- Remove cuvet from water bath and dry completely with KimWipe

- Place cuvet on spectrophotometer and record absorbance after 1 minute.

- The absorbance is representative of the sperm mobility score for that individual.